Original raw data uploads from the FLNTUSB units > Averaged, processed Matlab-ready text files.

Each file is named by station, nominal ECO depth, S/N.

LB1_005M_ECO_735.raw > LB1_005M_ECO_735_AVG.txt & LB1_005M_ECO_735_AVG_Depth.txt

LB1_015M_ECO_736.raw > LB1_015M_ECO_736_AVG.txt

LB1_030M_ECO_738.raw > LB1_030M_ECO_738_AVG.txt

LB2_075M_ECO_739.raw > LB2_075M_ECO_739_AVG.txt

LB3_171M_ECO_740.raw > LB3_171M_ECO_740_AVG.txt

Files are text files, tab delimited.  Factory calibrations were used.

S/N's 735, 736, 738, and 739 are averages of 3 consecutive 1 s  readings every 6 m.

To conserve memory and battery life, LB03's Mooring S/N 740 read only a 1 sec value every 6 min; consequently, 740 Turb SD and 740 Chl SD are left blank.

Times are in GMT.

Note that S/N 735 has 2 files, the AVG_Depth file has a special format that includes average temperature and R/V Savannah CTD-aligned depth data.

So, 735 Depth Avg and 735 Depth SD are actual depth data; all other "7S/N Depth" are nominal depths assigned to each mooring.

The timestamps are originally in the format MM/DD/YY HH:MM:SS.  I converted them to numbers to the eight decimal point using Microsoft Excel's epoch whereby 1/01/1900 = 1.00000000.

Variable names are in each header with the following naming convention:

735 Datetime Avg	735 Depth Avg	735 Depth SD	735 Temp Avg	735 Temp SD

735 Date+Time	 735 Depth		735 Turb Avg	735 Turb SD	735 Chl Avg	735 Chl SD

736 Date+Time	736 Depth		736 Turb Avg	736 Turb SD	736 Chl Avg	736 Chl SD

738 Date+Time	738 Depth		739 Turb Avg	738 Turb SD	738 Chl Avg	738 Chl SD

739 Date+Time	739 Depth		739 Turb Avg	739 Turb SD	739 Chl Avg	739 Chl SD

740 Date+Time	740 Depth		740 Turb Avg	740 Turb SD	740 Chl Avg	740 Chl SD

On 7/10/12, the variables above were renamed as:

Datetime_Avg_735	Depth_Avg_735	Depth_SD_735	Temp_Avg_735	Temp_SD_735

Datetime_735	Depth_735		Turb_Avg_735	Turb_SD_735	Chl_Avg_735	Chl_SD_735

Datetime_736	Depth_736		Turb_Avg_736	Turb_SD_736	Chl_Avg_736	Chl_SD_736

Datetime_738	Depth_738		Turb_Avg_738	Turb_SD_738	Chl_Avg_738	Chl_SD_738

Datetime_739	Depth_739		Turb_Avg_739	Turb_SD_739	Chl_Avg_739	Chl_SD_739

Datetime_740	Depth_740		Turb_Avg_740	Turb_SD_740	Chl_Avg_740	Chl_SD_740